## Sheet1
Quality Assurance, Quality Control
Step 1 | if both duplicates (either HpaII or MspI rxn) of NTC have peaks greater 5 light units (at Disp 9 & 10), then redo plate
| determine minimal peak height by solving signal/noise ratio (with a lower limit of 5); average all NTC peak heigths for numerator… 5 = (minum pk ht/avg NTC peak hts) | avg NTC = 1.682857143 | 8.4143
Step 2 | if both duplicates (either HpaII or MspI rxn; non-control samples) have low G T peaks (<10 light units), then re-do; if only one fails, make note and use only good sample not the avg meth
if both duplicates (either HpaII or MspI rxn; non-control samples) have high non-specific binding peaks (>5 light units Disp 3, 4, 7, 8), then re-do; if only one fails, make note and use only good sample not the avg meth
if non-control samples have CV greater than 5 and not explained by low G T or non-specific binding, then re-do sample
Step 3 | Check quality of stock DNA and note any concerns like low stock volume; spec of stock dna is noted as poor quality based on subjective assessment of curve, and low concentration if < 40ng/uL; stock_notes
Note any peculiarites from clean and concentrate and check quality of clean and concentrate DNA; note if concentration <20ng/uL, 260/280 is not within 1.6-2 range, or if 260/230 not within 1.2 -2.5 range; cc_notes
check run LUMA reaction steps for any possible errors and note these; rxn_notes
Step 4 | calculate intra-assay CV; done using hy_pool and hy_100%; note duplicate 1 and 2 averaged before calculating CV
calculate inter-assay CV; done using hy_pool and hy_100%; note duplicate 1 and 2 averaged before calculating CV
Step 5 | view linearization; use serial dilution of 0% and 100% mehtylated lambda phage
Step 6 | Plate Calibration - Front half
Plate Calibration - Back half
Step 7 | Statistical Outlier Removal (note below 50% meth may not be biologically relevant, but use stats only for outlier removal (discussed w/ Dana Dolinoy 15feb17)
Re-run samples - samples that are below a threshold (could use outlier test, or value like 60% methylation…can in part be driven by what is reasonable/practical)
Consider the following
on pg 6 of Head et al 2014, Applications… they indicate that they do not keep any samples with visible non-specific peaks; also discuss how degraded DNA would result in lower (not higher) global methylation due to non-specifice peaks
reasons to not do this include the lamda linearization (high first peak accurate estimates); check correlation between first peak and meth (is it inverse); see Bjornsson et al.
check IQR * 1.5 as a cut off
all data inclusion was done prior to joining methylation values to hyena id and additional covariates
could also look at the background characteristics for the group of samples excluded by SDs or IQR cutoffs…how could these samples bias models